## 05- Field chemistry data
WP_ID | DataType | Date_Assessment_Original | Date_Assessment | Time_Assessment | Temp (oC) | pH | SEC (µS/cm) | Turbidity (<NTU) | Total Iron (mg/l) | Titration 1 | Titration 2 | Volume 50/100ml | N_VALUE | HCO3 | Corrected_HCO3 | Tryptophan_Probe_µgL | Sample_taken | SURVEY_DETAIL_ID | COUNTRY | Comment | Final HCO3
MMZ37 | Field |  | 2016-09-05 | 10:40 | 23.3 | 5.99 | 123.7 | 0.21 | 0 | 228 | 233 | 50 | 0.16 | 56.199 | 56.199 |  | Sampled | 941 | MAL | PVC pipes installed | 56.199
MMZ38 | Field |  | 2016-09-05 | 14:10 | 24.9 | 6.03 | 115.2 | 0.15 | 0 | 246 | 242 | 50 | 0.16 | 59.4904 | 59.4904 |  | Sampled | 942 | MAL | PVC pipes installed | 59.4904
MMZ39 | Field |  | 2016-09-06 | 3:30 | [12 empty] | Not sampled | 943 | MAL
MMZ40 | Field |  | 2016-09-06 | 4:35 | [12 empty] | Not sampled | 944 | MAL
MMZ35 | Field |  | 2016-09-06 | 9:30 | 24.7 | 5.65 | 367.9 | 0.25 | 0 | 401 | 391 | 50 | 0.16 | 96.55 | 96.55 |  | Sampled | 939 | MAL | PVC pipes installed | 96.55
MMZ36 | Field |  | 2016-09-07 | 13:40 | 24.3 | 6.09 | 314.8 | 0.24 | 0.01 | 376 | 373 | 50 | 0.16 | 91.3081 | 91.3081 |  | Sampled | 940 | MAL | PVC pipes installed | 91.3081
MMZ31 | Field |  | 2016-09-07 | 9:30 | [12 empty] | Not sampled | 935 | MAL
MMZ32 | Field |  | 2016-09-08 | 10:45 | 23.6 | 7.06 | 334.6 | 11.7 | 0 | 752 | 788 | 50 | 0.16 | 187.7362 | 187.7362 |  | Sampled | 936 | MAL | PVC pipes installed | 187.7362
MMZ33 | Field |  | 2016-09-08 | 13:00 | 23.8 | 7.01 | 355.3 | 0.33 | 0.01 | 808 | 820 | 50 | 0.16 | 198.464 | 198.464 |  | Sampled | 937 | MAL | PVC pipes installed | 198.464
MMZ34 | Field |  | 2016-09-08 | 14:30 | [12 empty] | Not sampled | 938 | MAL
MMZ28 | Field |  | 2016-09-09 | 10:00 | 25.2 | 6 | 159.6 | 0.3 | 0 | 265 | 260 | 50 | 0.16 | 64.001 | 64.001 |  | Sampled | 932 | MAL | PVC pipes installed | 64.001
MMZ29 | Field |  | 2016-09-09 | 12:20 | 24.4 | 6.84 | 578.3 | 0.16 | 0 | 80 | 78 | 50 | 1.6 | 19.2612 | 19.2612 |  | Sampled | 933 | MAL | PVC pipes installed | 19.2612
MMZ30 | Field |  | 2016-09-09 | 14:10 | 23.1 | 5.81 | 111 | 0.28 | 0 | 253 | 265 | 50 | 0.16 | 63.1476 | 63.1476 |  | Sampled | 934 | MAL | PVC pipes installed | 63.1476
MMZ25 | Field |  | 2016-09-09 | 10:10 | 24.8 | 6.18 | 391.1 | 0.47 | 0 | 420 | 414 | 50 | 0.16 | 101.6701 | 101.6701 |  | Sampled | 929 | MAL | PVC pipes installed | 101.6701
MMZ26 | Field |  | 2016-09-10 | 11:50 | 24.6 | 6.58 | 586.7 | 0.11 | 0 | 667 | 687 | 50 | 0.16 | 165.0616 | 165.0616 |  | Sampled | 930 | MAL | PVC pipes installed | 165.0616
MMZ27 | Field |  | 2016-09-10 | 13:30 | 25.1 | 6.72 | 769.5 | 0.12 | 0 | 868 | 867 | 50 | 0.16 | 211.508 | 211.508 |  | Sampled | 931 | MAL | PVC pipes installed | 211.508
MMZ23 | Field |  | 2016-09-10 | 10:40 | 24.9 | 6.17 | 707.5 | 0.31 | 0 | 719 | 729 | 50 | 0.16 | 176.5208 | 176.5208 |  | Sampled | 927 | MAL | PVC pipes installed | 176.5208
MMZ24 | Field |  | 2016-09-12 | 11:30 | [12 empty] | Not sampled | 928 | MAL
MMZ21 | Field |  | 2016-09-12 | 10:20 | 24 | 6.53 | 178.9 | 9.68 | 0.01 | 423 | 420 | 50 | 0.16 | 102.7673 | 102.7673 |  | Sampled | 925 | MAL | PVC pipes installed | 102.7673
MMZ22 | Field |  | 2016-09-12 | 12:50 | 24.3 | 6.46 | 188.8 | 0.28 | 0 | 469 | 426 | 50 | 0.16 | 109.1064 | 109.1064 |  | Sampled | 926 | MAL | PVC pipes installed | 109.1064
MMZ18 | Field |  | 2016-09-12 | 10:00 | 23.4 | 5.95 | 208.7 | 0.29 | 0.01 | 383 | 388 | 50 | 0.16 | 93.99 | 93.99 |  | Sampled | 922 | MAL | PVC pipes installed | 93.99
MMZ19 | Field |  | 2016-09-13 | 11:35 | 23.4 | 6.43 | 375.2 | 0.39 | 0 | 867 | 901 | 50 | 0.16 | 215.5309 | 215.5309 |  | Sampled | 923 | MAL | PVC pipes installed | 215.5309
MMZ20 | Field |  | 2016-09-13 | 15:30 | 25.2 | 5.51 | 73.56 | 2.64 | 0 | 134 | 136 | 50 | 0.16 | 32.9148 | 32.9148 |  | Sampled | 924 | MAL | PVC pipes installed | 32.9148
MMZ16 | Field |  | 2016-09-13 | 9:40 | 22.4 | 5.92 | 138.5 | 0.87 | 0 | 316 | 308 | 50 | 0.16 | 76.0697 | 76.0697 |  | Sampled | 920 | MAL | PVC pipes installed | 76.0697
MMZ17 | Field |  | 2016-09-14 | 12:10 | 22.4 | 6.11 | 181.8 | 0.16 | 0 | 537 | 530 | 50 | 0.16 | 130.0744 | 130.0744 |  | Sampled | 921 | MAL | PVC pipes installed | 130.0744
MMZ13 | Field |  | 2016-09-14 | 9:50 | 23.6 | 6.1 | 432.1 | 0.3 | 0 | 65 | 54 | 50 | 1.6 | 14.5069 | 14.5069 |  | Sampled | 917 | MAL | PVC pipes installed | 14.5069
MMZ14 | Field |  | 2016-09-14 | 12:40 | 24.1 | 6.76 | 1100 | 0.78 | 0.02 | 129 | 119 | 50 | 1.6 | 30.2328 | 30.2328 |  | Sampled | 918 | MAL | PVC pipes installed | 30.2328
MMZ15 | Field |  | 2016-09-14 | 14:00 | [12 empty] | Not sampled | 919 | MAL
MMZ09 | Field |  | 2016-09-15 | 10:05 | 24.8 | 5.14 | 59.19 | 11.7 | 0 | 83 | 91 | 50 | 0.16 | 21.2118 | 21.2118 |  | Sampled | 913 | MAL | PVC pipes installed | 21.2118
MMZ10 | Field |  | 2016-09-15 | 11:45 | 23.6 | 5.91 | 89.65 | 6.09 | 0.01 | 230 | 241 | 50 | 0.16 | 57.418 | 57.418 |  | Sampled | 914 | MAL | PVC pipes installed | 57.418
MMZ11 | Field |  | 2016-09-15 | 13:20 | 24.8 | 6.55 | 447.3 | 0.14 | 0 | 251 | 241 | 50 | 1.6 | 59.9781 | 59.9781 |  | Sampled | 915 | MAL | PVC pipes installed | 59.9781
MMZ12 | Field |  | 2016-09-15 | 15:10 | 25.2 | 6.93 | 486.4 | 0.21 | 0 | 107 | 104 | 50 | 1.6 | 25.7223 | 25.7223 |  | Sampled | 916 | MAL | PVC pipes installed | 25.7223
MMZ05 | Field |  | 2016-09-16 | 9:10 | 25.3 | 6 | 534.6 | 0.59 | 0 | 380 | 375 | 50 | 0.16 | 92.0395 | 92.0395 |  | Sampled | 909 | MAL | PVC pipes installed | 92.0395
MMZ06 | Field |  | 2016-09-16 | 10:50 | 24.9 | 6.42 | 673.2 | 2.97 | 0.01 | 818 | 828 | 50 | 0.16 | 200.6583 | 200.6583 |  | Sampled | 910 | MAL | PVC pipes installed | 200.6583
MMZ07 | Field |  | 2016-09-16 | 12:15 | 25.5 | 6.03 | 370.3 | 0.42 | 0 | 405 | 396 | 50 | 0.16 | 97.6472 | 97.6472 |  | Sampled | 911 | MAL | PVC pipes installed | 97.6472
MMZ08 | Field |  | 2016-09-16 | 14:55 | 24.6 | 6.17 | 363.6 | 0.62 | 0 | 450 | 452 | 50 | 0.16 | 109.9598 | 109.9598 |  | Sampled | 912 | MAL | PVC pipes installed | 109.9598
MMZ01 | Field |  | 2016-09-17 | 9:30 | 24.4 | 6.08 | 207.2 | 1.19 | 0 | 318 | 322 | 50 | 0.16 | 78.0202 | 78.0202 |  | Sampled | 905 | MAL | PVC pipes installed | 78.0202
MMZ02 | Field |  | 2016-09-17 | 11:30 | 25.6 | 6.97 | 1318 | 0.48 | 0.01 | 177 | 180 | 50 | 1.6 | 43.5207 | 43.5207 |  | Sampled | 906 | MAL | PVC pipes installed | 43.5207
MMZ03 | Field |  | 2016-09-17 | 14:05 | 25.8 | 6.46 | 451.5 | 0.67 | 0 | 855 | 868 | 50 | 0.16 | 210.0451 | 210.0451 |  | Sampled | 907 | MAL | PVC pipes installed | 210.0451
MMZ04 | Field |  | 2016-09-17 | 15:45 | 25.5 | 6.68 | 469 | 0.62 | 0.01 | 865 | 874 | 50 | 0.16 | 211.9956 | 211.9956 |  | Sampled | 908 | MAL | PVC pipes installed | 211.9956
MNK37 | Field |  | 2016-09-22 | 9:35 | 27.6 | 6.7 | 353.7 | 0.81 | 0 | 610 | 605 | 50 | 0.16 | 148.1165 | 148.1165 | 0.2 | Sampled | 901 | MAL | PVC pipes installed | 148.1165
MNK38 | Field |  | 2016-09-22 | 11:10 | 27.6 | 6.54 | 318.8 | 0.59 | 0 | 880 | 870 | 50 | 0.16 | 213.3366 | 213.3366 | 0.4 | Sampled | 902 | MAL | PVC pipes installed | 213.3366
MNK39 | Field |  | 2016-09-22 | 12:50 | 27.7 | 6 | 171.9 | 0.7 | 0 | 381 | 394 | 50 | 0.16 | 94.4776 | 94.4776 | 0.2 | Sampled | 903 | MAL | PVC pipes installed | 94.4776
MNK40 | Field |  | 2016-09-23 | 14:00 | [12 empty] | Not Sampled | 904 | MAL
MNK35 | Field |  | 2016-09-23 | 9:20 | 28.7 | 6.19 | 284.7 | 1.12 | 0 | 668 | 681 | 50 | 0.16 | 164.452 | 164.452 | 0.3 | Sampled | 899 | MAL | PVC pipes installed | 164.452
MNK36 | Field |  | 2016-09-23 | 11:15 | 28.7 | 6.82 | 237.6 | 0.84 | 0 | 520 | 518 | 50 | 0.16 | 126.5391 | 126.5391 | 0.7 | Sampled | 900 | MAL | PVC pipes installed | 126.5391
MNK30 | Field |  | 2016-09-23 | 9:20 | 28.3 | 6.25 | 83.34 | 0.65 | 0 | 135 | 141 | 50 | 0.16 | 33.6462 | 33.6462 | 0.2 | Sampled | 894 | MAL | PVC pipes installed | 33.6462
MNK31 | Field |  | 2016-09-24 | 11:00 | 27.6 | 7.4 | 185.7 | 0.72 | 0 | 459 | 458 | 50 | 0.16 | 111.7884 | 111.7884 | 0.1 | Sampled | 895 | MAL | PVC pipes installed | 111.7884
MNK32 | Field |  | 2016-09-24 | 12:15 | [12 empty] | Not Sampled | 896 | MAL
MNK33 | Field |  | 2016-09-24 | 13:20 | 29 | 7.26 | 139.6 | 0.5 | 0 | 303 | 314 | 50 | 0.16 | 75.2164 | 75.2164 | 0.2 | Sampled | 897 | MAL | PVC pipes installed | 75.2164
MNK34 | Field |  | 2016-09-24 | 14:10 | [12 empty] | Not Sampled | 898 | MAL
MNK26 | Field |  | 2016-09-26 | 9:35 | [12 empty] | Not Sampled | 890 | MAL
MNK27 | Field |  | 2016-09-26 | 10:30 | [12 empty] | Not Sampled | 891 | MAL
MNK28 | Field |  | 2016-09-26 | 12:30 | 29.1 | 7.03 | 597.3 | 1.38 | 0.01 | 229 | 221 | 50 | 1.6 | 54.858 | 54.858 | 1 | Sampled | 892 | MAL | PVC pipes installed | 54.858
MNK29 | Field |  | 2016-09-27 | 14:00 | 28.2 | 6.7 | 180 | 0.45 | 0 | 400 | 410 | 50 | 0.16 | 98.7444 | 98.7444 | 0.2 | Sampled | 893 | MAL | PVC pipes installed | 98.7444
MNK22 | Field |  | 2016-09-27 | 9:35 | 28.6 | 6.1 | 88.95 | 2.17 | 0.01 | 177 | 188 | 50 | 0.16 | 44.4959 | 44.4959 | 0.4 | Sampled | 886 | MAL | PVC pipes installed | 44.4959
MNK23 | Field |  | 2016-09-27 | 10:50 | [12 empty] | Not Sampled | 887 | MAL
MNK24 | Field |  | 2016-09-28 | 12:20 | 28.4 | 7.08 | 713.6 | 0.49 | 0 | 161 | 170 | 50 | 1.6 | 40.3511 | 40.3511 | 0.7 | Sampled | 888 | MAL | PVC pipes installed | 40.3511
MNK25 | Field |  | 2016-09-28 | 14:20 | 29.2 | 6.22 | 104.6 | 0.41 | 0 | 218 | 223 | 50 | 0.16 | 53.7608 | 53.7608 | 0.3 | Sampled | 889 | MAL | PVC pipes installed | 53.7608
MNK18 | Field |  | 2016-09-29 | 9:45 | 27.2 | 6.51 | 540.5 | 0.72 | 0.02 | 661 | 641 | 50 | 0.16 | 158.7224 | 158.7224 | 0.3 | Sampled | 882 | MAL | PVC pipes installed | 158.7224
MNK19 | Field |  | 2016-09-29 | 11:30 | 28.3 | 6.53 | 293.6 | 0.8 | 0.02 | 346 | 350 | 50 | 0.16 | 84.847 | 84.847 | 1.3 | Sampled | 883 | MAL | PVC pipes installed | 84.847
MNK20 | Field |  | 2016-09-29 | 13:10 | 27.6 | 6.52 | 285 | 0.5 | 0 | 277 | 268 | 50 | 0.16 | 66.4391 | 66.4391 | 0.2 | Sampled | 884 | MAL | PVC pipes installed | 66.4391
MNK21 | Field |  | 2016-09-30 | 14:45 | [12 empty] | Not Sampled | 885 | MAL
MNK14 | Field |  | 2016-09-30 | 9:45 | 27.7 | 5.68 | 31.56 | 0.92 | 0.01 | 41 | 44 | 50 | 0.16 | 10.3621 | 10.3621 | 0.2 | Sampled | 878 | MAL | PVC pipes installed | 10.3621
MNK15 | Field |  | 2016-09-30 | 11:05 | 27.6 | 6.36 | 78.68 | 0.97 | 0.01 | 167 | 165 | 50 | 0.16 | 40.473 | 40.473 | 0.2 | Sampled | 879 | MAL | PVC pipes installed | 40.473
MNK16 | Field |  | 2016-09-30 | 13:30 | 28.2 | 6.01 | 46.96 | 0.93 | 0 | 103 | 113 | 50 | 0.16 | 26.3318 | 26.3318 | 0.2 | Sampled | 880 | MAL | PVC pipes installed | 26.3318
MNK17 | Field |  | 2016-10-01 | 15:00 | 28.7 | 6.33 | 83.5 | 6.62 | 0.01 | 206 | 210 | 50 | 0.16 | 50.7132 | 50.7132 | 0.2 | Sampled | 881 | MAL | PVC pipes installed | 50.7132
MNK11 | Field |  | 2016-10-01 | 9:20 | 28.6 | 6.79 | 230.1 | 0.46 | 0.01 | 512 | 534 | 50 | 0.16 | 127.5143 | 127.5143 | 0.2 | Sampled | 875 | MAL | PVC pipes installed | 127.5143
MNK12 | Field |  | 2016-10-01 | 11:45 | [12 empty] | Not Sampled | 876 | MAL
MNK13 | Field |  | 2016-10-04 | 12:50 | 29.9 | 7.77 | 526.7 | 0.53 | 0.01 | 138 | 132 | 50 | 1.6 | 32.9148 | 32.9148 | 0.3 | Sampled | 877 | MAL | PVC pipes installed | 32.9148
MNK08 | Field |  | 2016-10-04 | 9:55 | 28.3 | 6.9 | 674.7 | 0.65 | 0.02 | 180 | 182 | 50 | 1.6 | 44.1302 | 44.1302 | 0.5 | Sampled | 872 | MAL | PVC pipes installed | 44.1302
MNK09 | Field |  | 2016-10-04 | 12:30 | 28.1 | 7.02 | 484.1 | 0.52 | 0 | 124 | 128 | 50 | 1.6 | 30.7205 | 30.7205 | 0.3 | Sampled | 873 | MAL | PVC pipes installed | 30.7205
MNK10 | Field |  | 2016-10-04 | 14:15 | 27.6 | 6.98 | 387.1 | 0.6 | 0.01 | 818 | 824 | 50 | 0.16 | 200.1707 | 200.1707 | 0.3 | Sampled | 874 | MAL | PVC pipes installed | 200.1707
MNK04 | Field |  | 2016-10-05 | 9:55 | 27.3 | 6.26 | 171.2 | 0.75 | 0.01 | 403 | 405 | 50 | 0.16 | 98.5005 | 98.5005 | 0.2 | Sampled | 868 | MAL | PVC pipes installed | 98.5005
MNK05 | Field |  | 2016-10-05 | 11:35 | 27.7 | 6.27 | 146.4 | 0.92 | 0.01 | 386 | 386 | 50 | 0.16 | 94.1119 | 94.1119 | 0.2 | Sampled | 869 | MAL | PVC pipes installed | 94.1119
MNK06 | Field |  | 2016-10-05 | 13:00 | [12 empty] | Not Sampled | 870 | MAL
MNK07 | Field |  | 2016-10-06 | 14:30 | 27.9 | 6.81 | 263.9 | 0.64 | 0.01 | 471 | 484 | 50 | 0.16 | 116.4208 | 116.4208 | 0.4 | Sampled | 871 | MAL | PVC pipes installed | 116.4208
MNK01 | Field |  | 2016-10-06 | 10:00 | 27.9 | 6.79 | 513.9 | 0.61 | 0 | 125 | 118 | 50 | 1.6 | 296.2331 | 296.2331 | 0.3 | Sampled | 865 | MAL | PVC pipes installed | 296.2331
MNK02 | Field |  | 2016-10-06 | 12:35 | 27.4 | 5.86 | 105.2 | 2.52 | 0 | 166 | 155 | 50 | 0.16 | 39.132 | 39.132 | 0.2 | Sampled | 866 | MAL | PVC pipes installed | 39.132
MNK03 | Field |  | 2016-10-06 | 14:45 | [12 empty] | Not Sampled | 867 | MAL
MLI38 | Field |  | 2016-10-14 | 9:45 | 25.2 | 7.15 | 665.1 | 1.02 | 0.02 | 144 | 154 | 50 | 1.6 | 36.3282 | 36.3282 |  | Sampled | 862 | MAL | PVC pipes installed | 36.3282
MLI39 | Field |  | 2016-10-14 | 11:20 | [12 empty] | Not sampled | 863 | MAL
MLI40 | Field |  | 2016-10-14 | 13:05 | 24.1 | 6.76 | 1025 | 0.51 | 0.01 | 141 | 150 | 50 | 1.6 | 35.4748 | 35.4748 |  | Sampled | 864 | MAL | PVC pipes installed | 35.4748
MLI35 | Field |  | 2016-10-14 | 9:30 | 24.1 | 6.45 | 194.7 | 0.46 | 0 | 328 | 333 | 50 | 0.16 | 80.5803 | 80.5803 |  | Sampled | 859 | MAL | PVC pipes installed | 80.5803
MLI36 | Field |  | 2016-10-15 | 11:30 | 24 | 6.73 | 259.1 | 0.39 | 0.01 | 545 | 570 | 50 | 0.16 | 135.9259 | 135.9259 |  | Sampled | 860 | MAL | PVC pipes installed | 135.9259
MLI37 | Field |  | 2016-10-15 | 14:20 | [12 empty] | Not sampled | 861 | MAL
MLI32 | Field |  | 2016-10-15 | 9:30 | 24.7 | 6.03 | 353.7 | 0.37 | 0.02 | 286 | 270 | 50 | 0.16 | 67.7801 | 67.7801 |  | Sampled | 856 | MAL | PVC pipes installed | 67.7801
MLI33 | Field |  | 2016-10-17 | 11:30 | 24.4 | 6.25 | 476.5 | 0.36 | 0.02 | 355 | 364 | 50 | 0.16 | 87.6509 | 87.6509 |  | Sampled | 857 | MAL | PVC pipes installed | 87.6509
MLI34 | Field |  | 2016-10-17 | 14:10 | 24 | 6.6 | 339.5 | 0.36 | 0.02 | 570 | 550 | 50 | 0.16 | 136.5354 | 136.5354 |  | Sampled | 858 | MAL | PVC pipes installed | 136.5354
MLI29 | Field |  | 2016-10-17 | [13 empty] | Not sampled | 853 | MAL
MLI30 | Field |  | 2016-10-17 | 10:50 | 24.9 | 6.07 | 441.2 | 0.42 | 0.02 | 521 | 576 | 50 | 0.16 | 133.7316 | 133.7316 |  | Sampled | 854 | MAL | PVC pipes installed | 133.7316
MLI31 | Field |  | 2016-10-18 | 13:40 | 25.6 | 6.32 | 203.5 | 0.4 | 0.01 | 470 | 469 | 50 | 0.16 | 114.4703 | 114.4703 |  | Sampled | 855 | MAL | PVC pipes installed | 114.4703
MLI25 | Field |  | 2016-10-18 | 8:45 | [12 empty] | Not sampled | 849 | MAL
MLI26 | Field |  | 2016-10-18 | 10:50 | 24.1 | 6.83 | 493.1 | 0.28 | 0.03 | 71 | 74 | 50 | 1.6 | 176.7646 | 176.7646 |  | Sampled | 850 | MAL | PVC pipes installed | 176.7646
MLI27 | Field |  | 2016-10-19 | 11:40 | [12 empty] | Not Sampled | 851 | MAL | PVC pipes installed
MLI28 | Field |  | 2016-10-19 | 13:50 | 25.2 | 6.76 | 341 | 0.3 | 0 | 50 | 51 | 50 | 1.6 | 123.1257 | 123.1257 |  | Sampled | 852 | MAL | PVC pipes installed | 123.1257
MLI22 | Field |  | 2016-10-19 | 9:10 | 23.9 | 7.33 | 227.4 | 0.28 | 0 | 139 | 121 | 100 | 1.6 | 158.4786 | 158.4786 |  | Sampled | 846 | MAL | PVC pipes installed | 158.4786
MLI23 | Field |  | 2016-10-19 | 11:50 | 24.6 | 6.6 | 271.9 | 0.38 | 0 | 54 | 52 | 50 | 1.6 | 129.221 | 129.221 |  | Sampled | 847 | MAL | PVC pipes installed | 129.221
MLI24 | Field |  | 2016-10-20 | 14:40 | 24.8 | 6.67 | 229.8 | 0.74 | 0.02 | 66 | 54 | 50 | 1.6 | 146.2879 | 146.2879 |  | Sampled | 848 | MAL | PVC pipes installed | 146.2879
MLI19 | Field |  | 2016-10-20 | 9:05 | 24.2 | 6.88 | 914.9 | 0.33 | 0.017 | 247 | 236 | 50 | 1.6 | 588.809 | 588.809 |  | Sampled | 843 | MAL | PVC pipes installed | 588.809
MLI20 | Field |  | 2016-10-20 | 11:45 | 24.5 | 7.04 | 467.8 | 1.25 | 0.007 | 160 | 163 | 50 | 1.6 | 393.7584 | 393.7584 |  | Sampled | 844 | MAL | PVC pipes installed | 393.7584
MLI21 | Field |  | 2016-10-21 | 13:35 | [12 empty] | Not sampled | 845 | MAL
MLI15 | Field |  | 2016-10-21 | 8:50 | 23.8 | 7.19 | 676.8 | 0.33 | 0.007 | 111 | 105 | 50 | 1.6 | 263.3183 | 263.3183 |  | Sampled | 839 | MAL | PVC pipes installed | 263.3183
MLI16 | Field |  | 2016-10-21 | [13 empty] | Not sampled | 840 | MAL
MLI17 | Field |  | 2016-10-22 | 12:30 | 24.1 | 7.58 | 815 | 0.52 | 0.008 | 160 | 167 | 50 | 1.6 | 398.6346 | 398.6346 |  | Sampled | 841 | MAL | PVC pipes installed | 398.6346
MLI18 | Field |  | 2016-10-22 | 14:50 | 24 | 7.22 | 680.7 | 0.3 | -0.007 | 152 | 151 | 50 | 1.6 | 369.3771 | 369.3771 |  | Sampled | 842 | MAL | PVC pipes installed | 369.3771
MLI12 | Field |  | 2016-10-22 | [13 empty] | Not sampled | 836 | MAL
MLI13 | Field |  | 2016-10-22 | 11:30 | 24.2 | 6.96 | 787.4 | 0.3 | 0.018 | 110 | 115 | 50 | 1.6 | 274.2899 | 274.2899 |  | Sampled | 837 | MAL | PVC pipes installed | 274.2899
MLI14 | Field |  | 2016-10-24 | 13:27 | 24.9 | 7.43 | 694.1 | 0.3 | 0.03 | 150 | 155 | 50 | 1.6 | 371.8152 | 371.8152 |  | Sampled | 838 | MAL | PVC pipes installed | 371.8152
MLI08 | Field |  | 2016-10-24 | 8:45 | 23.9 | 6.94 | 268.1 | 0.77 | 0.018 | 60 | 55 | 50 | 1.6 | 140.1926 | 140.1926 |  | Sampled | 832 | MAL | PVC pipes installed | 140.1926
MLI09 | Field |  | 2016-10-24 | [13 empty] | Not sampled | 833 | MAL
MLI10 | Field |  | 2016-10-25 | 12:25 | 24.7 | 7.33 | 1072 | 0.56 | 0.076 | 211 | 212 | 50 | 1.6 | 515.665 | 515.665 |  | Sampled | 834 | MAL | PVC pipes installed | 515.665
MLI11 | Field |  | 2016-10-25 | [13 empty] | Not sampled | 835 | MAL
MLI05 | Field |  | 2016-10-25 | 8:55 | 23.9 | 7.41 | 681.5 | 0.28 | 0.003 | 139 | 139 | 50 | 1.6 | 338.9004 | 338.9004 |  | Sampled | 829 | MAL | PVC pipes installed | 338.9004
MLI06 | Field |  | 2016-10-26 | 10:40 | 24.7 | 6.79 | 319.8 | 0.38 | 0 | 53 | 54 | 50 | 1.6 | 130.4401 | 130.4401 |  | Sampled | 830 | MAL | PVC pipes installed | 130.4401
MLI07 | Field |  | 2016-10-26 | 12:15 | 25.4 | 7.08 | 706 | 0.28 | 0.074 | 123 | 125 | 50 | 1.6 | 302.3284 | 302.3284 |  | Sampled | 831 | MAL | PVC pipes installed | 302.3284
MLI01 | Field |  | 2016-10-26 | 8:20 | 24.8 | 6.68 | 307.9 | 0.34 | 0.003 | 58 | 55 | 50 | 1.6 | 137.7545 | 137.7545 |  | Sampled | 825 | MAL | PVC pipes installed | 137.7545
MLI02 | Field |  | 2016-10-27 | 9:45 | 24.6 | 6.93 | 1272 | 0.34 | 0.079 | 134 | 137 | 50 | 1.6 | 330.3669 | 330.3669 |  | Sampled | 826 | MAL | PVC pipes installed | 330.3669
MLI03 | Field |  | 2016-10-27 | 11:20 | 24.4 | 6.94 | 1148 | 0.28 | 0.021 | 144 | 145 | 50 | 1.6 | 352.3101 | 352.3101 |  | Sampled | 827 | MAL | PVC pipes installed | 352.3101
MLI04 | Field |  | 2016-10-27 | 12:45 | 24.6 | 6.64 | 311.5 | 0.28 | 0.021 | 52 | 49 | 50 | 1.6 | 123.1257 | 123.1257 |  | Sampled | 828 | MAL | PVC pipes installed | 123.1257
MMA40 | Field |  | 2016-11-02 | 15:20 | 28.7 | 7.69 | 763.6 | 0.31 | -0.001 | 135 | 137 | 50 | 1.6 | 331.586 | 331.586 | 0.7 | Sampled | 824 | MAL | PVC pipes installed | 331.586
MMA37 | Field |  | 2016-11-02 | 11:00 | 26.1 | 6.22 | 97.11 | 0.4 | 0.024 | 181 | 180 | 50 | 0.16 | 44.0083 | 44.0083 | 0.1 | Sampled | 821 | MAL | PVC pipes installed | 44.0083
MMA38 | Field |  | 2016-11-02 | 12:40 | 26.9 | 6.38 | 173.8 | 0.27 | 0 | 199 | 199 | 50 | 0.16 | 48.5188 | 48.5188 | 0.3 | Sampled | 822 | MAL | PVC pipes installed | 48.5188
MMA39 | Field |  | 2016-11-03 | [13 empty] | NotSampled | 823 | MAL
MMA34 | Field |  | 2016-11-03 | 11:00 | 27 | 7.13 | 3951 | 0.66 | 0.013 | 286 | 290 | 50 | 1.6 | 702.1821 | 702.1821 | 0.5 | Sampled | 818 | MAL | PVC pipes installed | 702.1821
MMA35 | Field |  | 2016-11-03 | 13:10 | 27.1 | 7.07 | 901.3 | 0.29 |  | 209 | 215 | 50 | 1.6 | 516.8841 | 516.8841 | 0.3 | Sampled | 819 | MAL | PVC pipes installed | 516.8841
MMA36 | Field |  | 2016-11-03 | 15:05 | 28 | 6.87 | 625.4 | 0.24 | 0.002 | 168 | 159 | 50 | 1.6 | 398.6346 | 398.6346 | 0.7 | Sampled | 820 | MAL | PVC pipes installed | 398.6346
MMA30 | Field |  | 2016-11-04 | 10:05 | 25.6 | 6.63 | 161.5 | 0.28 | 0.006 | 328 | 332 | 50 | 1.6 | 804.5837 | 804.5837 | 0.2 | Sampled | 814 | MAL | PVC pipes installed | 804.5837
MMA31 | Field |  | 2016-11-04 | 12:10 | 26.3 | 7.22 | 843 | 52.3 | -0.003 | 189 | 191 | 50 | 1.6 | 463.2452 | 463.2452 | 0.8 | Sampled | 815 | MAL | PVC pipes installed | 463.2452
MMA32 | Field |  | 2016-11-04 | [13 empty] | NotSampled | 816 | MAL
MMA33 | Field |  | 2016-11-05 | [13 empty] | NotSampled | 817 | MAL
MMA27 | Field |  | 2016-11-05 | 9:35 | 27 | 6.97 | 418.5 | 0.3 | 0.013 | 80 | 75 | 50 | 1.6 | 188.9553 | 188.9553 | 0.3 | Sampled | 811 | MAL | PVC pipes installed | 188.9553
MMA28 | Field |  | 2016-11-05 | 11:15 | 27.9 | 7.34 | 1953 | 1.05 | 0.01 | 367 | 368 | 50 | 1.6 | 896.0137 | 896.0137 | 0.7 | Sampled | 812 | MAL | PVC pipes installed | 896.0137
MMA29 | Field |  | 2016-11-07 | 13:15 | 27.5 | 6.98 | 792.8 | 0.28 | 0.017 | 195 | 193 | 50 | 1.6 | 472.9977 | 472.9977 | 0.1 | Sampled | 813 | MAL | PVC pipes installed | 472.9977
MMA23 | Field |  | 2016-11-07 | [13 empty] | NotSampled | 807 | MAL
MMA24 | Field |  | 2016-11-07 | 10:50 | 27.3 | 7.29 | 516.1 | 1.05 | 0.091 | 116 | 117 | 50 | 1.6 | 284.0424 | 284.0424 | 0.2 | Sampled | 808 | MAL | PVC pipes installed | 284.0424
MMA25 | Field |  | 2016-11-07 | 12:55 | 27.2 | 6.62 | 144.5 | 0.38 | 0.02 | 293 | 300 | 50 | 0.16 | 72.2906 | 72.2906 | 0.2 | Sampled | 809 | MAL | PVC pipes installed | 72.2906
MMA26 | Field |  | 2016-11-08 | 14:10 | 26.8 | 6.96 | 243.3 | 1.35 | 0.014 | 50 | 50 | 50 | 1.6 | 121.9066 | 121.9066 | 0.5 | Sampled | 810 | MAL | PVC pipes installed | 121.9066
MMA20 | Field |  | 2016-11-08 | [13 empty] | Not Sampled | 804 | MAL
MMA21 | Field |  | 2016-11-08 | 12:55 | 25.6 | 6.64 | 218.9 | 1.29 | 0.016 | 73 | 79 | 50 | 1.6 | 185.2981 | 185.2981 | 0.1 | Sampled | 805 | MAL | PVC pipes installed | 185.2981
MMA22 | Field |  | 2016-11-08 | 14:45 | 25.8 | 6.1 | 101.4 | 10.4 | 0.037 | 156 | 160 | 50 | 0.16 | 38.5225 | 38.5225 | 0.2 | Sampled | 806 | MAL | PVC pipes installed | 38.5225
MMA18 | Field |  | 2016-11-09 | 11:50 | 27.1 | 7.13 | 325.8 | 0.37 | 0.002 | 67 | 61 | 50 | 1.6 | 156.0405 | 156.0405 | 0.4 | Sampled | 802 | MAL | PVC pipes installed | 156.0405
MMA19 | Field |  | 2016-11-09 | [13 empty] | Not Sampled | 803 | MAL
MMA15 | Field |  | 2016-11-09 | 11:05 | 26.2 | 6.83 | 230.8 | 0.61 | 0.011 | 51 | 48 | 50 | 1.6 | 120.6876 | 120.6876 | 0.1 | Sampled | 799 | MAL | PVC pipes installed | 120.6876
MMA16 | Field |  | 2016-11-09 | [13 empty] | NotSampled | 800 | MAL
MMA17 | Field |  | 2016-11-10 | [13 empty] | NotSampled | 801 | MAL
MMA12 | Field |  | 2016-11-10 | 10:47 | 26.8 | 7.58 | 810.7 | 0.18 | 0.031 | 119 | 115 | 50 | 1.6 | 285.2615 | 285.2615 | 0.6 | Sampled | 796 | MAL | PVC pipes installed | 285.2615
MMA13 | Field |  | 2016-11-10 | 13:25 | 27.8 | 7.18 | 487 | 1.54 | 0.011 | 95 | 100 | 50 | 1.6 | 237.7179 | 237.7179 | 0.5 | Sampled | 797 | MAL | PVC pipes installed | 237.7179
MMA14 | Field |  | 2016-11-10 | 15:30 | 27 | 6.87 | 409.6 | 0.17 | 0.009 | 82 | 84 | 50 | 1.6 | 202.365 | 202.365 | 0.3 | Sampled | 798 | MAL | PVC pipes installed | 202.365
MMA08 | Field |  | 2016-11-11 | 10:40 | 25.2 | 6.76 | 247.3 | 4.7 | 0.02 | 57 | 58 | 50 | 1.6 | 140.1926 | 140.1926 | 0.3 | Sampled | 792 | MAL | PVC pipes installed | 140.1926
MMA09 | Field |  | 2016-11-11 | 12:00 | 25.3 | 6.25 | 117.9 | 0.39 | 0.17 | 198 | 201 | 50 | 0.16 | 48.6407 | 48.6407 | 0.4 | Sampled | 793 | MAL | PVC pipes installed | 48.6407
MMA10 | Field |  | 2016-11-11 | 13:40 | 26.3 | 6.74 | 219.8 | 0.35 | 0.013 | 44 | 46 | 50 | 1.6 | 109.716 | 109.716 | 0.1 | Sampled | 794 | MAL | PVC pipes installed | 109.716
MMA11 | Field |  | 2016-11-11 | 14:50 | 26.1 | 6.23 | 203.5 | 0.22 | 0.026 | 372 | 375 | 50 | 0.16 | 91.0642 | 91.0642 | 0.5 | Sampled | 795 | MAL | PVC pipes installed | 91.0642
MMA04 | Field |  | 2016-11-11 | 10:35 | 27.2 | 6.62 | 552.6 | 8.92 | 0.06 | 98 | 97 | 50 | 1.6 | 237.7179 | 237.7179 | 0.7 | Sampled | 788 | MAL | PVC pipes installed | 237.7179
MMA05 | Field |  | 2016-11-12 | 12:35 | 26.8 | 7 | 980.7 | 0.25 | 0 | 229 | 230 | 50 | 1.6 | 559.5514 | 559.5514 | 2.3 | Sampled | 789 | MAL | PVC pipes installed | 559.5514
MMA06 | Field |  | 2016-11-12 | 14:05 | 27.3 | 6.77 | 307 | 0.25 | 0.026 | 64 | 65 | 50 | 1.6 | 157.2595 | 157.2595 | 0.2 | Sampled | 790 | MAL | PVC pipes installed | 157.2595
MMA07 | Field |  | 2016-11-14 | 15:20 | 27 | 7.23 | 803.7 | 0.14 | 0.008 | 187 | 188 | 50 | 1.6 | 457.1498 | 457.1498 | 0.2 | Sampled | 791 | MAL | PVC pipes installed | 457.1498
MMA01 | Field |  | 2016-11-14 | 9:50 | 26.6 | 6.82 | 602 | 0.18 | 0.09 | 142 | 144 | 50 | 1.6 | 348.6529 | 348.6529 | 0.4 | Sampled | 785 | MAL | PVC pipes installed | 348.6529
MMA02 | Field |  | 2016-11-14 | 11:45 | 26.5 | 6.73 | 415 | 0.24 | 0.02 | 94 | 100 | 50 | 1.6 | 236.4988 | 236.4988 | 0.3 | Sampled | 786 | MAL | PVC pipes installed | 236.4988
MMA03 | Field |  | 2016-11-14 | 14:35 | 27.6 | 6.65 | 183.2 | 0.82 | 0 | 28 | 26 | 50 | 1.6 | 65.8296 | 65.8296 | 0.3 | Sampled | 787 | MAL | PVC pipes installed | 65.8296
MBA37 | Field |  | 2016-11-22 | 8:55 | 26.2 | 7.12 | 657 | 0.16 | 0.04 | 179 | 196 | 50 | 1.6 | 45.715 | 45.715 | 0.9 | Sampled | 781 | MAL | PVC pipes installed | 45.715
MBA38 | Field |  | 2016-11-22 | [13 empty] | Not Sampled | 782 | MAL
MBA39 | Field |  | 2016-11-22 | 11:30 | 26.9 | 7.12 | 1554 | 0.17 | 0.02 | 274 | 276 | 50 | 1.6 | 67.0486 | 67.0486 | 1 | Sampled | 783 | MAL | PVC pipes installed | 67.0486
MBA40 | Field |  | 2016-11-22 | 13:40 | 27.2 | 6.73 | 330 | 1.1 | 0.04 | 70 | 72 | 50 | 1.6 | 17.3107 | 17.3107 | 0.2 | Sampled | 784 | MAL | PVC pipes installed | 17.3107
MBA33 | Field |  | 2016-11-23 | 10:00 | 28.6 | 7.34 | 1370 | 0.22 | 0.02 | 305 | 310 | 50 | 1.6 | 749.7257 | 749.7257 | 1.5 | Sampled | 777 | MAL | PVC pipes installed | 749.7257
MBA34 | Field |  | 2016-11-23 | 11:55 | 28 | 7.22 | 1053 | 0.19 | 0.01 | 212 | 210 | 50 | 1.6 | 514.4459 | 514.4459 | 0.5 | Sampled | 778 | MAL | PVC pipes installed | 514.4459
MBA35 | Field |  | 2016-11-23 | [13 empty] | Not Sampled | 779 | MAL
MBA36 | Field |  | 2016-11-23 | 14:40 | 26.5 | 7.01 | 828 | 0.21 | 0 | 180 | 174 | 50 | 1.6 | 431.5494 | 431.5494 | 2.1 | Sampled | 780 | MAL | PVC pipes installed | 431.5494
MBA29 | Field |  | 2016-11-25 | 9:47 | 28.3 | 7.51 | 1286 | 0.21 | 0 | 320 | 317 | 50 | 1.6 | 776.5452 | 776.5452 | 2.3 | Sampled | 773 | MAL | PVC pipes installed | 776.5452
MBA30 | Field |  | 2016-11-25 | 12:10 | 27.7 | 7.42 | 1393 | 1.42 | 0.02 | 324 | 330 | 50 | 1.6 | 797.2693 | 797.2693 | 0.6 | Sampled | 774 | MAL | PVC pipes installed | 797.2693
MBA31 | Field |  | 2016-11-25 | 13:50 | 27.7 | 7.05 | 509.2 | 3.4 | 0 | 138 | 109 | 50 | 1.6 | 301.1094 | 301.1094 | 1.6 | Sampled | 775 | MAL | PVC pipes installed | 301.1094
MBA32 | Field |  | 2016-11-25 | 15:05 | 27.6 | 6.78 | 522.6 | 0.44 | 0.05 | 109 | 108 | 50 | 1.6 | 264.5374 | 264.5374 | 0.5 | Sampled | 776 | MAL | PVC pipes installed | 264.5374
MBA25 | Field |  | 2016-11-28 | 10:28 | 26.7 | 7.98 | 479 | 0.19 | 0 | 114 | 116 | 50 | 1.6 | 280.3852 | 280.3852 | 0.8 | Sampled | 769 | MAL | PVC pipes installed | 280.3852
MBA26 | Field |  | 2016-11-28 | [13 empty] | Not Sampled | 770 | MAL
MBA27 | Field |  | 2016-11-28 | 13:05 | 28.2 | 6.96 | 2710 | 1.27 | 0 | 244 | 244 | 50 | 1.6 | 594.9043 | 594.9043 | 1 | Sampled | 771 | MAL | PVC pipes installed | 594.9043
MBA28 | Field |  | 2016-11-29 | 14:30 | 27.2 | 6.79 | 332.4 | 0.15 | 0.01 | 72 | 75 | 50 | 1.6 | 179.2027 | 179.2027 | 1.3 | Sampled | 772 | MAL | PVC pipes installed | 179.2027
MBA22 | Field |  | 2016-11-29 | 11:00 | 27.1 | 7.54 | 1095 | 0.2 | 0.01 | 198 | 200 | 50 | 1.6 | 485.1883 | 485.1883 | 0.5 | Sampled | 766 | MAL | PVC pipes installed | 485.1883
MBA23 | Field |  | 2016-11-30 | 13:21 | 28.5 | 7.64 | 775 | 1.5 | 0.03 | 194 | 193 | 50 | 1.6 | 471.7786 | 471.7786 | 0.4 | Sampled | 767 | MAL | PVC pipes installed | 471.7786
MBA24 | Field |  | 2016-11-30 | 15:00 | 27.4 | 7.15 | 431 | 0.17 | 0.02 | 113 | 114 | 50 | 1.6 | 276.728 | 276.728 | 0.7 | Sampled | 768 | MAL | PVC pipes installed | 276.728
MBA18 | Field |  | 2016-11-30 | 8:56 | 26.4 | 7.65 | 1258 | 0.42 | 0 | 298 | 300 | 50 | 1.6 | 729.0016 | 729.0016 | 3.4 | Sampled | 762 | MAL | PVC pipes installed | 729.0016
MBA19 | Field |  | 2016-12-01 | 10:40 | 26.7 | 7.6 | 533 | 0.36 | 0.04 | 130 | 128 | 50 | 1.6 | 314.5191 | 314.5191 | 1.4 | Sampled | 763 | MAL | PVC pipes installed | 314.5191
MBA20 | Field |  | 2016-12-01 | 12:25 | 27.2 | 7.65 | 864 | 0.39 | 0.08 | 220 | 221 | 50 | 1.6 | 537.6082 | 537.6082 | 0.5 | Sampled | 764 | MAL | PVC pipes installed | 537.6082
MBA21 | Field |  | 2016-12-02 | 13:50 | 26.7 | 7.59 | 1197 | 0.24 | 0 | 270 | 274 | 50 | 1.6 | 663.172 | 663.172 | 0.5 | Sampled | 765 | MAL | PVC pipes installed | 663.172
MBA15 | Field |  | 2016-12-02 | 9:02 | 26.5 | 7.39 | 604 | 0.2 | 0.01 | 172 | 167 | 50 | 1.6 | 413.2634 | 413.2634 | 1 | Sampled | 759 | MAL | PVC pipes installed | 413.2634
MBA16 | Field |  | 2016-12-05 | 10:45 | 26.7 | 7.3 | 491 | 0.62 | 0.01 | 140 | 135 | 50 | 1.6 | 335.2432 | 335.2432 | 0.7 | Sampled | 760 | MAL | PVC pipes installed | 335.2432
MBA17 | Field |  | 2016-12-05 | 12:30 | 27.4 | 7.3 | 2270 | 0.17 | 0.02 | 296 | 274 | 50 | 1.6 | 694.8677 | 694.8677 | 2 | Sampled | 761 | MAL | PVC pipes installed | 694.8677
MBA11 | Field |  | 2016-12-05 | 9:50 | 28.2 | 7.45 | 1250 | 0.7 | 0.01 | 283 | 285 | 50 | 1.6 | 692.4296 | 692.4296 | 0.16 | Sampled | 755 | MAL | PVC pipes installed | 692.4296
MBA12 | Field |  | 2016-12-06 | 12:07 | 28.2 | 7.65 | 798 | 0.16 | 0 | 195 | 204 | 50 | 1.6 | 486.4074 | 486.4074 | 0.7 | Sampled | 756 | MAL | PVC pipes installed | 486.4074
MBA13 | Field |  | 2016-12-06 | 14:05 | 27.3 | 7.75 | 612 | 0.35 | 0.01 | 185 | 182 | 50 | 1.6 | 447.3973 | 447.3973 | 1 | Sampled | 757 | MAL | PVC pipes installed | 447.3973
MBA14 | Field |  | 2016-12-06 | [13 empty] | Not Sampled | 758 | MAL
MBA08 | Field |  | 2016-12-07 | 9:50 | 26.6 | 7.06 | 673.3 | 1.22 | 0.01 | 167 | 154 | 50 | 1.6 | 391.3202 | 391.3202 | 0.8 | Sampled | 752 | MAL | PVC pipes installed | 391.3202
MBA09 | Field |  | 2016-12-07 | 12:11 | 26.9 | 7.06 | 1119 | 0.15 | 0.01 | 310 | 321 | 50 | 1.6 | 769.2308 | 769.2308 | 1.9 | Sampled | 753 | MAL | PVC pipes installed | 769.2308
MBA10 | Field |  | 2016-12-07 | 15:02 | 27.1 | 7.43 | 1148 | 0.26 | 0.01 | 284 | 290 | 50 | 1.6 | 699.744 | 699.744 | 1 | Sampled | 754 | MAL | PVC pipes installed | 699.744
MBA06 | Field |  | 2016-12-07 | 11:00 | 27 | 6.99 | 906.1 | 0.31 | 0.006 | 210 | 210 | 50 | 1.6 | 512.0078 | 512.0078 | 0.5 | Sampled | 750 | MAL | PVC pipes installed | 512.0078
MBA07 | Field |  | 2016-12-08 | 12:25 | 26.6 | 7.08 | 551.9 | 0.79 | 0.01 | 129 | 126 | 50 | 1.6 | 310.8619 | 310.8619 | 0.8 | Sampled | 751 | MAL | PVC pipes installed | 310.8619
MBA03 | Field |  | 2016-12-08 | 10:25 | 26.7 | 7.19 | 1652 | 12 | 0.008 | 289 | 273 | 50 | 1.6 | 685.1152 | 685.1152 | 1.1 | Sampled | 747 | MAL | PVC pipes installed | 685.1152
MBA04 | Field |  | 2016-12-09 | 12:31 | 26.7 | 7.02 | 973.01 | 0.08 | 0.005 | 228 | 231 | 50 | 1.6 | 559.5514 | 559.5514 | 1 | Sampled | 748 | MAL | PVC pipes installed | 559.5514
MBA05 | Field |  | 2016-12-09 | 14:45 | 26.7 | 7 | 1062 | 0.08 | 0.003 | 252 | 262 | 50 | 1.6 | 626.6 | 626.6 | 0.7 | Sampled | 749 | MAL | PVC pipes installed | 626.6
MBA01 | Field |  | 2016-12-09 | 11:55 | 26.8 | 6.92 | 1160 | 1.02 | 0.005 | 162 | 164 | 50 | 1.6 | 397.4156 | 397.4156 | 0.7 | Sampled | 745 | MAL | PVC pipes installed | 397.4156
MBA02 | Field |  | 2016-12-09 | 14:35 | 25 | 7.07 | 2654 | 0.28 | 0.005 | 226 | 220 | 50 | 1.6 | 543.7035 | 543.7035 | 1.4 | Sampled | 746 | MAL | PVC pipes installed | 543.7035